| PATHWAY |  |  |  |  |  |  | NETWORK |  |  |  | LOCATION / ROOM / AREA |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Instructions |  | - Read each question below and perform the physical check in order to answer the question. - Do not leave any questions blank. - Click the appropriate ‘response’ box and ‘check’ the box with the ‘x’. - If an answer is ‘no’ indicating ‘non-compliance’ then a comment is required to be made in the comments box. Click on the grey shaded area and type in the comment. - Required remedial actions are to be entered in the section below the questions. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Questions |  |  |  |  |  |  |  |  |  |  |  |  | Response |  |  | Comments |  |  |  |
| Q1 | Are chemicals segregated by hazard class? - flammables are away from oxidizers - acids and flammables are separated - acids and bases (hydroxide compounds) are separated - nitric acid is separated from other acids |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q2 | Chemical containers in good condition? - unacceptable conditions include: rusty containers, leaking or unsealed containers, and broken caps |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q3 | Gas cylinders in good condition? - unacceptable conditions include: rust, damaged cylinders and damaged valves |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q4 | Stored gas cylinders are stored separately from other types of gas cylinder? - Note this does not apply to different cylinder types that are in use together i.e. oxy-acetylene kit |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q5 | Are all chemicals in the correct type of container? - e.g. not food container / drinks bottle |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q6 | Chemical containers are properly labelled AND according to the actual contents? - primary original containers need to have a label on and the label must be readable - secondary containers that are used for storage (e.g., squeeze bottles) need to be labelled with the chemical contents |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q7 | Are all chemical containers closed? - Containers should have lids or covers - Container lids or covers should be firmly secured unless actively pouring - Petrol cans should be sealed to stop fumes escaping |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q8 | Glass chemical containers are not stored on the floor? - glass containers holding liquid chemicals (even water) or hazardous solid chemicals cannot be stored on the floor unless they are positioned in such a way (pushed way under a table) that they can’t be broken |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q9 | Chemicals are stored in a safe & secure location (and away from tools & machinery)? |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q10 | Is access to the hazardous substances limited to specified personnel? |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q11 | Fridges used for storage of hazardous substances labelled with appropriate hazard symbols? |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q12 | Fridges not designed/modified for storage of flammable liquids clearly signed as “Not to be used for storage of flammable liquids” or similar. |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q13 | Flammables / combustibles are segregated from any ignition sources including operating machinery or tools? |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q14 | Ventilated storage available for toxic and hazardous chemicals and gas cylinders? |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q15 | Gas cylinders stored upright and properly secured? - all cylinders must be secured snugly with a strap or chain that is above the middle of the cylinder |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q16 | Only minimum quantities of chemicals available to workers? - large quantities decanted into smaller containers - the container must be labelled correctly for the contents |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q17 | Safety data sheets (SDS) are available for all chemicals, near the point of use? |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q18 | The correct signage is displayed on the chemical store to warn of associated hazards? - e.g. warning signs for ‘Hazardous Substance’, ‘Highly flammable’, ‘Toxic’ etc. |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q19 | Housekeeping in the chemical store is sufficient? - e.g. no risk of tripping, easily knocking over items, falling from shelves etc |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q20 | Equipment is available to transport chemicals around the site without risk of causing a spill? - e.g. drum lifters or handcart / dolly truck |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q21 | Sufficient spill kits are located around the area, they are fit for purpose for the types of spill, and they are well stocked? |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q22 | Chemicals that have to be mixed are done so either outdoors or in an area with extraction? |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q23 | PPE is available near the point of use when using hazardous substances as recommended by the Safety Data Sheet (SDS)? - e.g. overalls, gloves, respirator etc |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q24 | Emergency equipment is available and functional (as required for the risks)? - e.g. emergency showers / eyewash stations / first aid kits |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q25 | Location Test Certificate is still in date? |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q26 | Gas detectors and/or alarms have been tested and are working effectively? |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q27 | Sufficient and appropriate signage is in place to advise persons on hazardous substances locations and risks? |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| Q28 | There is an up-to-date inventory list of all hazardous substances? |  |  |  |  |  |  |  |  |  |  |  | Yes No N/a |  |  |  |  |  |  |
| What Remedial actions are required OR have been taken? |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Comments |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Completed by (Name) |  |  |  |  |  |  |  |  |  | Signature |  | ………………….......... |  | Date completed |  |  | / / |  |  |
| Has copy been provided to Manager? |  |  |  |  | Yes No |  |  |  |  | Manager Name |  |  |  | Date provided |  |  | / / |  |  |
| CHECK LIST: |  |  |  |  |  | - Retain original copy on site for 2-months. - Load into Vault (on the Vault ‘Compliance’ / ‘Inspection’ tab) and add corrective actions in Vault (speak to the H&S team if unsure how to do this) - Follow up on remedial actions, and inform the Operations Manager when completed. |  |  |  |  |  |  |  |  |  |  |  |  |  |